## Slide 1
PREVIOUS CLASSES
1- Error analysis
2- Precession, Resolution etc.
3- Examples of different applications of Vacuum Techniques
4- Units of Pressure and its conversions
5- Basics of Gas Properties
6- Gas laws
7- Velocity of gasses etc.
8- Molecular incident rate, Mean free path
9- Viscosity
Diffusion of Gas

## Slide 2
2
1

## Slide 4
P=760 Torr , D=6.7m N(mole/)=2.46
viscous
Torr-5.0molecule

## Slide 5
df = (dP/dx)dxh0y
dq=(1/4)n vavmvydx = (dP/dx)dxh0y

## Slide 6
PREVIOUS CLASSES
1- Error analysis
2- Precession, Resolution etc.
3- Examples of different applications of Vacuum Techniques
4- Units of Pressure and its conversions
5- Basics of Gas Properties
6- Gas laws
7- Velocity of gasses etc.
8- Molecular incident rate, Mean free path
9- Viscosity
Diffusion of Gas
Thermal diffusion: Distinction of gas flow and connections

## Slide 8
Amount

## Slide 9
GAS FLOW AT LOW PRESSURES
Vacuum system
1. Viscous state
2. Molecular state
3. Intermediate state
Viscous state can be:
1 Turbulant -> Re>2100, Q>200D (air)
2. Laminar -> Re<1100, Q<200D(air)
D/λ> 110
Transition : Intermediate 1<D/λ<110
molecular D/λ<1

## Slide 10
ρ =density of the gas
v=velocity of the gas
η= viscosity of the gas
D=diameter of the tube
Limit is defined by the value of the Reynold’s number
Limit(laminar intermediate and molecular flow) is defined by Knudsen number.
Re =
Reynold number
(Dimensionless)

## Slide 11
The Knudsen number is the ratio D/λ between the diameter of the pipe and the mean free path
D/λ>110 Viscous flow
1<D/λ<110 intermediate flow
D/λ<1 Molecular flow
Through put Q => quality of the gas flowing through a pipe per unit time

## Slide 17
PREVIOUS CLASSES
1- Error analysis
2- Precession, Resolution etc.
3- Examples of different applications of Vacuum Techniques
4- Units of Pressure and its conversions
5- Basics of Gas Properties
6- Gas laws
7- Velocity of gasses etc.
8- Molecular incident rate, Mean free path
9- Viscosity and diffusion of gases
10- Thermal diffusion: Distinction of gas flow and connections
Vacuum PUMPS
1- Question: Modify the design of McLeod gauge for the better resolution of pressure measurement
2- Write a programme (Software development) to calculate the conductance for different connection design
3- Write a programme to calculate the throughput and pumping speed required for the vacuum chamber